Here’s a summary of the article you shared:
🔗 AI-Powered Lung Cancer Detection: Assessing VGG16 and CNN Architectures for CT Scan Image Classification from Informatics (Vol. 12, No. 1, 2025). (MDPI)

🧠 Overview

This research investigates the use of deep learning (CNN) models, especially the VGG16 architecture, to automatically classify lung cancer from CT scan images into three categories: Normal, Benign, and Malignant. (MDPI)

Why this matters:

- Lung cancer remains a leading cause of death worldwide. Early and accurate detection greatly improves treatment outcomes.

- CT scans are standard for diagnostics but require expert interpretation. AI may help improve speed and consistency. (MDPI)

🛠 Methods

📌 Dataset

- 1097 CT scan images from 110 patients.

- Divided into Normal, Benign, and Malignant categories.

- Images resized and preprocessed for CNN input. (MDPI)

🤖 Models Compared

The study evaluated several deep learning architectures:

- VGG16 (primary focus)

- ResNet50

- InceptionV3

- MobileNetV2
All models were trained and tested to determine which provided the best classification performance. (MDPI)

🔍 Explainability

The study also discusses the use of Grad-CAM (Gradient-weighted Class Activation Mapping) as a way to visualize which parts of a CT scan influenced the model’s decision — helping clinicians interpret AI predictions. (MDPI)

📊 Key Results

- VGG16 achieved the highest test accuracy (~98.18%) among all the evaluated models. (MDPI)

- This suggests VGG16 is particularly strong at distinguishing between normal, benign, and malignant lung structures in CT images. (MDPI)

📉 Limitations

- Dataset size is relatively small, which could reduce generalizability to new patient data.

- The study used 2D CT slices instead of 3D volumes, which might limit spatial feature extraction. (MDPI)

🔮 Future Directions

The authors recommend improvements such as:

- Larger datasets for better training

- Data augmentation and advanced model tuning

- Exploration of advanced architectures like 3D CNNs or Vision Transformers

- Integration of explainability tools (e.g., Grad-CAM) in clinical workflows for greater transparency and trust. (MDPI)

🧾 Conclusion

The study highlights that pre-trained CNN models — especially VGG16 — can effectively classify lung cancer from CT scans with high accuracy. This approach shows promise as a supportive diagnostic tool to enhance early lung cancer detection and reduce diagnostic burden on clinicians. (MDPI)

If you’d like, I can provide a simplified infographic or key metrics table from the study.